#### PRODUCT SPECIFICATION

PRODUCT:				160mm x 45° ESB Red Ducting Bend

ESB APPROVAL:			As per Spec 16113

MATERIAL - COLOUR:			PVC – Red

BEND RADIUS:				1,200mm

AVE. OUTSIDE DIA (mm):		160.0 – 160.25

WALL THICKNESS (mm):		4.3 – 4.8

SOCKET:		Push Fit Socket on one end with Chamfer on

opposite end

ESB Code:				9317568